## F_Defenition
Input F — CIS drought-management capacity
Composite indicator | Component code | Component name | Score | Evidence used | Evidence quality | Notes | Reviewer comment
PAR | P1 | Drought or extreme-event management plan | 0.75 | A contingency plan is reported for the Minutos CIS. | User-provided MCIS information; national drought framework recommends contingency plans. | Score 0.75 because a plan exists, but regular updating, testing and operational documentation still need confirmation.
PAR | P2 | Drought alert levels or reservoir-storage thresholds | 1 | Alert levels are linked to reservoir water levels/storage. | User-provided MCIS information; DGADR/SIR reservoir monitoring basis. | Score 1 because thresholds are defined and linked to operational water availability.
PAR | P3 | Flood or emergency-trigger thresholds for discharge structures, gates, spillways or emergency outlets | 0.5 | General dam and control structures exist, but formal emergency-trigger procedures and testing records were not documented. | Recent methodology; MCIS operational evidence still incomplete. | Score 0.5 as conservative evidence of general procedures with weak formalisation/records.
PAR | P4 | Allocation, restriction or rationing rules under water shortage | 1 | Allocation and restriction rules are defined in DGADR tables and linked to available reservoir storage. | User-provided MCIS information; DGADR allocation tables. | Score 1 because the allocation/restriction logic is formally defined.
OMC | M1 | Reservoir level or stored-volume monitoring | 1 | Reservoir level/stored volume is monitored weekly. | User-provided MCIS information; DGADR weekly reservoir monitoring practice. | Score 1 because monitoring is regular and supports operational decisions.
OMC | M2 | Irrigation demand, supplied volume or water consumption monitoring | 0.5 | Hydrant volumes are metered, but irrigation demand is not directly and systematically monitored; crop/area records rely partly on farmer declarations. | User-provided MCIS information. | Score 0.5 because consumption data exist but demand monitoring and planning records are partial.
OMC | M3 | Network, pressure, energy or service-condition monitoring | 0.5 | Hydrants have telemetry, but pressure is monitored only at three points; other readings depend on operators and records are not continuously archived. | User-provided MCIS information. | Score 0.5 because monitoring is spatially limited and not fully archived.
OMC | M4 | Operational status and functionality of safety and control structures | 0.5 | Safety/control structures exist, but systematic testing, maintenance records and linkage to emergency procedures were not documented. | Recent methodology; MCIS evidence incomplete. | Score 0.5 until formal testing/maintenance records are confirmed.
FIM | I1 | Preventive maintenance plan | 0.5 | Maintenance is performed by the WUA, but a formal documented preventive maintenance plan with records still needs confirmation. | User-provided MCIS information. | Score 0.5 provisionally; increase if a recorded preventive plan is confirmed.
FIM | I2 | Financial capacity to cover MOM and energy costs | 0.75 | Pre-irrigation campaign budgets are prepared; service/conservation and exploitation fees exceeded electricity costs in 2010–2023, but fee data are missing for 2024–2025 and reserve/reinvestment capacity is not fully documented. | Energy_costs sheet; user-provided financial data. | Score 0.75 because costs appear mostly covered, but reserve and reinvestment capacity are uncertain.
FIM | I3 | Emergency or strategic resources | 0.25 | No evidence was provided for reserve funds, spare parts, backup equipment, generators, backup pumping capacity or alternative water sources dedicated to drought response. | User-provided MCIS information; national drought guidance on emergency reserves. | Score 0 as conservative value; update if emergency resources are documented.
PCC | C1 | Farmer participation or consultation | 0.5 | Meetings or consultations occur, but participation records and systematic documentation are limited. | User-provided MCIS information. | Score 0.5 because participation exists but is limited or weakly documented.
PCC | C2 | Communication of water availability, tariffs, restrictions, service interruptions or emergency measures | 0.5 | Communication occurs through meetings and operational contact, but evidence of clear, timely and archived communication to all farmers is limited. | User-provided MCIS information. | Score 0.5 because communication exists but is not fully systematic or documented.
PCC | C3 | Enforcement and compliance control | 0.5 | Hydrant metering and telemetry support compliance control, but formal records of water cuts, penalties or reports to authorities were not fully documented. | User-provided MCIS information. | Score 0.5 because control mechanisms exist but records/procedures are incomplete.
PCC | C4 | Conflict-resolution and complaint-handling mechanisms | 0.25 | Conflicts appear to be handled informally by operators or managers; no formal complaint procedure or records were documented. | User-provided MCIS information. | Score 0.25 because conflict handling is mainly informal.